## FU-CALC
input numbers here
calculation cells do not change
Name
IRRIGATION CALCULATIONS
0 | (Trees) x (2gph x1hr x 2days week x 32 weeks year/ 325851 ) = |  |  | 0 | acre-ft
0 | (Shrubs) x (3gph x1hr x 2days week x 32 weeks year/ 325851 )= |  |  | 0 | acre-ft
0 | (Turf Heads) x (55.1gpm x 20min x 2days week x 32 weeks year/ 325851 )= |  |  | 0 | acre-ft
or | TOTAL REQUIRED FROM LS PLAN BY LANDSCAPE ARCHITECT |  | A = | 0 | acre-ft
FIXTURE UNIT BREAKDOWN
Table a-2 and 7-3 upc |  | Sewer | Water | Total Fixture Units
Num | Type of Fixture | Fu per | Fu per | = SS | = WATER
A |  | B | C | AXB | AXC
0 | Drinking Fountain | 1 | 1 | 0 | 0
0 | Bar Sink | 2 | 2 | 0 | 0
0 | Lavatory Sink, single | 2 | 1 | 0 | 0
0 | Lavatory Sink, in sets | 2 | 2 | 0 | 0
0 | Laundry Tubs | 2 | 2 | 0 | 0
0 | Shower, single stall | 2 | 2 | 0 | 0
0 | Shower, gang (one per head) | 3 | 2 | 0 | 0
0 | Clotheswashers | 3 | 4 | 0 | 0
0 | Service Sink or dishwasher | 3 | 3 | 0 | 0
0 | Water closet, tank | 4 | 3 | 0 | 0
0 | Urinal - valve | 4 | 3 | 0 | 0
0 | Water closet, valve | 6 | 10 | 0 | 0
0 | Floor Drains | 1 |  | 0 | 0
0 | Receptors floor sinks, all | 1 |  | 0 | 0
0 | Interceptors for grease, oil, solids, auto wash ect | 3 |  | 0 | 0
0 | - |  |  | 0 | 0
0 | Hose Bibb |  | 3 | 0 | 0
0 | 3/8 inch supply line |  | 2 | 0 | 0
0 | 1/2 inch supply line |  | 4 | 0 | 0
0 | 3/4 inch supply line |  | 6 | 0 | 0
0 | 1 inch supply line |  | 10 | 0 | 0
TOTAL SS FIXTURES USED IN CALCULATING SEWER FEES |  |  |  | 0
TOTAL WATER FIXTURES USED IN CALCULATING WATER FEES |  |  |  |  | 0
Sewer GPD = SS Fixture units x 15 gal per day per fu |  |  | D1 = | 0 | 0
Water GPD = Wtr Fixture units x 15 gal per day per fu |  |  | B = |  | 0
GPD x 365 days per year x 1 acre-ft per 325,851 gal = wtr acre-ft = |  |  |  | NA | 0
PROCESS WATER
Provided by building owner. No standard form exists. |  |  | Water |  | SEWER
|  | DAY/YR | Acre feet | % TO SEWER = | Acre feet
0 | Gallons per work day x 365 days per year (MORE IF APPLICABLE) x 1acre-ft per 325851 gal = acre-ft = | 365 | 0 | 100% | 0
TOTALS
|  |  | Acre feet | gpd
Total irrigation water amount |  |  | 0 | 0 | A
Total potable water amount |  |  | 0 | 0 | B
Total process water amount |  |  | 0 | 0 | C
Total SEWER amount |  |  |  | 0
Total process SEWER amount |  |  |  | 0 | D2
Total Water rights dedication required from PUD Water agreement (potable + process) |  |  | 0 |  | E
FEES
Sewer Connection Fees - ($9.57 / GPD) |  |  | PAYABLE TO TRI-GID | 0 | D2+D1 * 9.57
Water Connection Fees (potable and process) - ($4.91 / GPD) |  |  | PAYABLE TO TRI-GID | 0 | B+C * 4.91
Irrigation Connection Fees - ($4.91 / GPD) |  |  | PAYABLE TO TRI-GID | 0 | A * 4.91
Water Sewer plan review fee. |  |  | PAYABLE TO TRI-WATER AND SEWER COMPANY | 500
Water Sewer inspection deposit. |  |  | PAYABLE TO TRI-WATER AND SEWER COMPANY | 1000
Water Rights ( TBD ) |  |  | PAYABLE TO TRI-LLC | call rec | E-0.5 * SITE*
TOTAL'S |  | Total Due = |  | 1500
USEFULL INFO
Occupancy Multiplier
Type A
Includes dry cleaners, markets with garbage disposals, taverns with food sales.
Type B
Includes taverns without food sales, retail sales, drug stores, service stations,
Type C
Includes offices, office-warehouses, Laundromats, maintenance facilities and theaters.
Type D
Includes beauty and barber shops and all types of medical or dental clinics.
Type E
Restaurants